CHANGES TO TENDER DOSSIER NO: 1

Contract Title: 		Supply of Equipment for Strengthening Forensic Capacity of Turkey - Relaunch

Publication Reference: 	EuropeAid/137473/IH/SUP/TR

- All changes to tender dossier have been made in Annex II-Technical Specifications.

| # | ARTICLE / ITEM | FORMER TEXT | SHALL READ AS NEW TEXT |
| --- | --- | --- | --- |
| 1 | Article 3.Technical Specifications Table / Item 1.1.5.2 | Its detector shall be liquid nitrogen free Silicon Drift Detector (SDD) type and resolution shall be at least 126 eV or better (Mn Kα). | Its detector shall be liquid nitrogen free Silicon Drift Detector (SDD) type and resolution shall be at least 129 eV or better (Mn Kα). |

All other terms and conditions of the Tender Dossier remain unchanged. The above alterations and/or corrections are integral part of the Tender Dossier.