Clarification No. 1

RESTORATION OF EKMEKCIZADE CARAVANSERAI IN EDIRNE / TURKEY

Publication reference CFCU/2005/TR0405.03/W/001

Q1.	Is there sufficient area around the Caravanserai for scaffolding or are we expected to obtain necessary permissions from the related public institutions to erect scaffolding during restoration of the outside walls of the Caravanserai?

A1. 	There is sufficient area in most of the places around the Caravanserai for scaffolding. The Province of Edirne will assist Contractor in obtaining the necessary permissions from the related public institutions if necessary for doing so.

Q2. 	Is there any possibility to relocate the transformer located at the south-west corner next to the back wall of the Caravanserai during the restoration work?

A2.	The said transformer shall be relocated by the Trakya Elektrik Dağıtım A.Ş. during the 	restoration works.

Q3.	Who will be responsible to take necessary permissions and approvals for the mechanical and electrical design of the restoration works and pay corresponding fees to the Municipality?

A3.	The Contractor should first of all obtain the approval of the electrical and mechanical design from the supervisor and subsequently it is the contractor’s responsibility to obtain permits and final approval from the relevant authorities. According to laws and regulations in force no fee is charged by the Municipality for those permissions.

Q4. 	Are the exact locations of the electric, sewer and drinking water connections known to the Beneficiary, and is there sufficient capacity to bear the extra sewer load due to the restored Caravanserai?

A4.	There is an existing electric and potable water connection inside the caravanserai. In the attachment you will find the plan of the nearest electric, potable water and sewer connections around the Caravanserai. The capacity of the existing sewer network is sufficient to bear the extra sewer load due to the restored Caravanserai.

Q5.	We have counted 20 chimneys in the course of site visit in contrary to 16 illustrated in the project. How will we proceed in such cases?

A5.	Measurements shall be made according to finished quantities of the contractor, measured on site. Please refer to article 47.2 of the Special Conditions.