TENDER: Europeaid/116321/D/W/TR

"Modernization of İŞKUR Offices"

CORRIGENDUM No. 2

The following alterations and/ or corrections are made to the tender dossier:

1. Volume 4, Page 32: (Section 4.2, 4.2.3 Method)

Current text:

The method for measuring completed works for payment must be in accordance with Clause 47.b of the Special Conditions (net measurement).

The provisional sums in the breakdown of overall price must be used in whole at the discretion of the Supervisor.

Each item in the breakdown of overall price for which payment is to be made in a lump sum, and for which no payment schedule is provided, must be paid after the work covered by the lump sum has been completed to the satisfaction of the Supervisor.

New text:

The method for measuring completed works for payment must be in accordance with Clause 47.1 b) of the Special Conditions (net measurement).

The provisional sums in the breakdown of overall price must be used in whole at the discretion of the Supervisor.

Each item in the breakdown of overall price for which payment is to be made in a lump sum, and for which no payment schedule is provided, must be paid after the work covered by the lump sum has been completed to the satisfaction of the Supervisor.

2. Volume 1, Page 20: (Section 1, Instruction to Tenderers, Article 14.3)

Please add the following at the end of article:

14.3.11 Electronic version (floppy disc or CD) of filled in BoQ tables in Volume 4.

3. Volume 2, Section 3, Special Conditions, Article 5.7

Please add:

5.7 The Contractor shall agree with the Supervisor on the time and the place for the inspection or testing of any materials or Plant or work as provided in the contract. The Supervisor shall give the Contractor not less than 24 hours notice of his intention to carry out the inspection or to attend to tests. If the Supervisor or his duly authorized representative does not attend on the date agreed, the Contractor may, unless otherwise instructed by Supervisor, proceed with the tests, which shall be deemed to have been made in the presence of the Supervisor. The Contractor shall forthwith forward to the Supervisor duly certified copies of the test readings. If the Supervisor has not attended the tests, he shall accept the said readings as accurate.

If inspection or testing of any materials or Plant or work hour is obliged to pass over the official working hours than Contractor shall take all the precautions to carry out the inspection or testing and make all necessary efforts to make the Supervisor on site.

###### 4. Volume 3 Page 13: (Construction Works, Article 3.2.1.1, paragraph 17, 18, the table)

Current text:

Ankara İşkur Building Item List

| 307 | PRINTERS | PVC based covering | Plaster+gypsum plaster+Oil paint | Laminate partition wall (h=90 cm)+aluminium frame + glass | Rock wool suspended ceiling | PVC based baseboard | Laminant | Aluminium |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 308 | SYSTEM ROOM | PVC based covering | Plaster+gypsum plaster+Oil paint | Laminate partition wall (h=90 cm)+aluminium frame + glass | Rock wool suspended ceiling | PVC based baseboard | Laminant | Aluminium |

New text:

| 307 | PRINTERS | Floating Floor | Plaster+gypsum plaster+Oil paint | Laminate partition wall (h=90 cm)+aluminium frame+glass | Rock wool suspended ceiling | PVC based baseboard | Laminant | Aluminium |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 308 | SYSTEM ROOM | Floating Floor | Plaster+gypsum plaster+Oil paint | Laminate partition wall (h=90 cm)+aluminium frame+glass | Rock wool suspended ceiling | PVC based baseboard | Laminant | Aluminium |

###### 5. Volume 4 Page 96:(Kayseri Breakdown of Overall Price, Article 4.2.7.4, paragraph 14, the table)

Current text:

Kayseri İşkur Renovation Project-Electrical Works

|  | 8. Diesel Generator Set |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

New text:

|  | 8. Diesel Generator Set |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 75kVA Diesel Generator | set | 1.0 |  |  |

###### 6. Volume 4 Page 36: (Ankara Breakdown of Overall Price, Article 4.2.7.1, paragraph 8,  the table)

Current text:

Ankara İşkur Renovation Project-Civil Works

| 8 | 18.460/8 | 100 mm diameter PVC pipe | m | 74 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 8 | 18.460/1 | Ø150 mm diameter PVC pipe | m | 74 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 7. Volume 4 Page 51: (İstanbul Breakdown of Overall Price, Article 4.2.7.2, paragraph 8, the table)

Current text:

İstanbul İşkur Renovation Project-Civil Works

| 8 | 18.460/8 | 100 mm diameter PVC pipe | m | 160 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 8 | 18.460/1 | Ø150 mm diameter PVC pipe | m | 160 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 8. Volume 4 Page 67: (SökeBreakdown of Overall Price, Article 4.2.7.3, paragraph 8,

###### the table)

Current text:

Söke İşkur Renovation Project-Civil Works

| 8 | 18.460/8 | 100 mm diameter PVC pipe | m | 115 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 8 | 18.460/1 | Ø150 mm diameter PVC pipe | m | 115 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 9. Volume 4 Page 87: (Kayseri Breakdown of Overall Price, Article 4.2.7.4, paragraph 8,  the table)

Current text:

Kayseri İşkur Renovation Project-Civil Works

| 8 | 18.460/8 | 100 mm diameter PVC pipe | m | 40 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 8 | 18.460/1 | Ø150 mm diameter PVC pipe | m | 40 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 10. Volume 4 Page 37: (Ankara Breakdown of Overall Price, Article 4.2.7.1, paragraph 35,  the table)

Current text:

Ankara İşkur Renovation Project-Civil Works

| 42 | 23.220 | Stair case and balcony balustrades and handrails | m | 80 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 42 | 23.220 | Stair case and balcony balustrades and handrails | kg | 600 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 11. Volume 4 Page 37: (Ankara Breakdown of Overall Price, Article 4.2.7.1, paragraph 20,  the table)

Current text:

Ankara İşkur Renovation Project-Civil Works

| 31 | Specif | Door subframe | kg | 4,680 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 31 | Specif | Door subframe | M | 260 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 12. Volume 4 Page 37: (Ankara Breakdown of Overall Price, Article 4.2.7.1, paragraph 21,  the table)

Current text:

Ankara İşkur Renovation Project-Civil Works

| 32 | Specif 35 | Laminated fabrication wing + lock+ 3 double-acting hinges | M2 | 92 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 32 | Specif 35 | Laminated fabrication wing + lock+ 3 double-acting hinges | no | 92 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 13. Volume 4 Page 36: (Ankara Breakdown of Overall Price, Article 4.2.7.1, paragraph 11, the table)

Current text:

Ankara İşkur Renovation Project-Civil Works

| 6 | 15.140/2 | Manual Sand Laying (thickness=15cm) | m2 | 270 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 6 | 15.140/2 | Manual Sand Laying (thickness=15cm) | m3 | 41 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 14. Volume 4 Page 36: (Ankara Breakdown of Overall Price, Article 4.2.7.1, paragraph 12, the table)

Current text:

Ankara İşkur Renovation Project-Civil Works

| 7 | 17.136 | Hardcore (thickness=15 cm) | m2 | 270 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 7 | 17.136 | Hardcore (thickness=15 cm) | m3 | 41 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 15. Volume 4 Page 52: (İstanbul Breakdown of Overall Price, Article 4.2.7.2,            paragraph 5,6,  the  table)

Current text:

İstanbul İşkur Renovation Project-Civil Works

| 21 | 18.102/1 | Gas Concrete 9 cm | m3 | 74 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 22 | 18.106/1 | Gas Concrete 19 cm | m3 | 206 |  |  |

New text:

| 21 | 18.102/1 | Gas Concrete 9 cm | m2 | 740 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 22 | 18.106/1 | Gas Concrete 19 cm | m2 | 1030 |  |  |

###### 16. Volume 4 Page 68: (Söke Breakdown of Overall Price, Article 4.2.7.3, paragraph 9,10, the table)

Current text:

Söke İşkur Renovation Project-Civil Works

| 21 | 18.102/1 | Gas Concrete 9 cm | m3 | 96 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 22 | 18.106/1 | Gas Concrete 19 cm | m3 | 43 |  |  |

New text:

| 21 | 18.102/1 | Gas Concrete 9 cm | m2 | 960 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 22 | 18.106/1 | Gas Concrete 19 cm | m2 | 215 |  |  |

###### 17. Volume 4 Page 88: (Kayseri Breakdown of Overall Price, Article 4.2.7.4,paragraph 2,3,  the table)

Current text:

Kayseri İşkur Renovation Project-Civil Works

| 20 | 18.102/1 | Gas Concrete 9 cm | m3 | 26 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 21 | 18.106/1 | Gas Concrete 19 cm | m3 | 468 |  |  |

New text:

| 20 | 18.102/1 | Gas Concrete 9 cm | m2 | 260 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 21 | 18.106/1 | Gas Concrete 19 cm | m2 | 275 |  |  |

###### 18. Volume 4 Page 37: (Ankara Breakdown of Overall Price, Article 4.2.7.1, paragraph 7,  the table)

Current text:

Ankara İşkur Renovation Project-Civil Works

| 22 | 21.054 | Wooden scaffolding for formwork | m2 | 250 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 22 | 21.054 | Wooden scaffolding for formwork | m3 | 1000 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 19. Volume 4 Page 52: (İstanbul Breakdown of Overall Price, Article 4.2.7.2, paragraph 1,  the  table)

Current text:

İstanbul İşkur Renovation Project-Civil Works

| 19 | 21.054 | Wooden scaffolding for formwork | m2 | 487 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 19 | 21.054 | Wooden scaffolding for formwork | m3 | 1950 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 20. Volume 4 Page 68:(Söke Breakdown of Overall Price, Article 4.2.7.3, paragraph 8,

###### the table)

Current text:

Söke İşkur Renovation Project-Civil Works

| 19 | 21.054 | Wooden scaffolding for formwork | m2 | 207 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 19 | 21.054 | Wooden scaffolding for formwork | m3 | 830 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 21. Volume 4 Page 87:(Kayseri Breakdown of Overall Price, Article 4.2.7.4, paragraph 33,  the  table)

Current text:

Kayseri İşkur Renovation Project-Civil Works

| 18 | 21.054 | Wooden scaffolding for formwork | m2 | 162 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 18 | 21.054 | Wooden scaffolding for formwork | m3 | 650 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 22. Volume 4 Page 37: (Ankara Breakdown of Overall Price, Article 4.2.7.1, paragraph 30, the table)

Current text:

Ankara İşkur Renovation Project-Civil Works

| 40 | 24.020 | Zinc plate for parapet and chimney | m2 | 46 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 40 | 24.020 | Zinc plate for parapet and chimney | m | 115 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 23. Volume 4 Page 68: (Söke Breakdown of Overall Price, Article 4.2.7.3, paragraph 32, the table)

Current text:

Söke İşkur Renovation Project-Civil Works

| 39 | 23.167 | Metal schaft doors | m | 98 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 39 | 23.167 | Metal schaft doors | m2 | 98 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

###### 24. Volume 4 Page 45: (Ankara Breakdown of Overall Price, Article 4.2.7.1, paragraph 18, the table)

Current text:

Ankara İşkur Renovation Project-Electrical Works

| 9 |  | m | 153.0 |  |  |
| --- | --- | --- | --- | --- | --- |

New text:

| 9 | 4x4 mm² N2XH | m | 153.0 |  |  |
| --- | --- | --- | --- | --- | --- |

###### 25. Volume 4 Page 38: (Ankara Breakdown of Overall Price, Article 4.2.7.1, paragraph 5, the table)

Current text:

Ankara İşkur Renovation Project-Civil Works

| 45 | 27.501 | Plaster 1st layer 250 kg/m2 cement 2nd layer 300 kg/m2 cement | m2 | -2750 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

New text:

| 45 | 27.501 | Plaster 1st layer 250 kg/m2 cement 2nd layer 300 kg/m2 cement | m2 | 2750 |  |  |
| --- | --- | --- | --- | --- | --- | --- |

All other terms and conditions of the Tender dossier remain unchanged. The above alterations and / or corrections to the tender dossier are integral part of the Tender Dossier.