EUROPEAID/120161/D/S/TR

“Supply of Equipment and Related Training for the Establishment of Security Systems at Customs Posts”

CORRIGENDUM TO TENDER

NO.1

TENDER DOSSIER

Page 24 of 156, Draft Contract, Article-1 ”Subject”, Sub article-1.4

The former text;

”

The place of acceptance of the supplies shall be the delivery places mentioned in appendix of Technical Specificatons, the time limits for delivery shall be 270 calendar days from the date of the signature of the contract and the Incoterm1 applicable shall be DDP.

”

Shall read as new text;

”

The place of acceptance of the supplies shall be the delivery places mentioned in appendix of Technical Specificatons, the time limits for delivery shall be 220 calendar days from the date of the signature of the contract and the Incoterm1 applicable shall be DDP5.

”

_________________________________________________________________________________________________

Page 28 of 156, Special Conditions, Article-13 ”Performance programme (timetable)”, item 1

The former text;

”

Delivery, installation and putting into operation must be completed within 270 calendar days from the contract signature.

”

Shall read as new text;

”

Delivery, installation and putting into operation must be completed within 220 calendar days from the contract signature.

”

_________________________________________________________________________________________________

Page 72 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.1 ”Colour Camera”, 7th item

The former text;

”

| Scanning System | 625 Lines 2:1 interlace |
| --- | --- |

”

Shall read as new text;

”

| Scanning System | CCIR PAL |
| --- | --- |

”

_________________________________________________________________________________________________

Page 73 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.1 ”Colour Camera”, 13th item ”Camera Housing and Mount”, specification 5

The former text;

”

Supply IP67 standard

”

Shall read as new text;

”

Supply IP66 or IP67 standard

”

_________________________________________________________________________________________________

Page 73 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.2 ”Outdoor Camera”, 4th item

The former text;

”

| Horizontal Resolution | Minimum 470 TV Lines |
| --- | --- |

”

Shall read as new text;

”

| Horizontal Resolution | Minimum 460 TV Lines |
| --- | --- |

”

_________________________________________________________________________________________________

Page 74 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.2 ”Outdoor Camera”, 6th item

The former text;

”

| Zoom Capability | Minimum 18X optical and 12X digital capability |
| --- | --- |

”

Shall read as new text;

”

| Zoom Capability | Minimum 18X optical |
| --- | --- |

”

_________________________________________________________________________________________________

Page 74 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.2 ”Outdoor Camera”, 7th item

The former text;

”

| Zoom Speed | 4.2 sec |
| --- | --- |

”

is removed.

_________________________________________________________________________________________________

Page 74 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.2 ”Outdoor Camera”, 11th item

The former text;

”

| Operating Temperature | -20 degree C to +50 degree C |
| --- | --- |

”

is removed.

_________________________________________________________________________________________________

Page 74 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.2 ”Outdoor Camera”, 13th item

The former text;

”

| Enclosure | Die Cast, extruded and sheet aluminium stainless steel hardware construction and housing shall have a wiper |
| --- | --- |

”

is removed.

_________________________________________________________________________________________________

Page 74 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.2 ”Outdoor Camera”, 14th item ”Other Properties”, specification 7

The former text;

”

Video signal to noise ratio (SNR) of more than 50dB when AGC (Automatic Gain Control) is off

”

is removed.

_________________________________________________________________________________________________

Page 74 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.2 ”Outdoor Camera”, 14th item ”Other Properties”, specification 8

The former text;

”

Supply IP66 standard and NEMA Type 4X

”

Shall read as new text;

”

Supply IP66 or IP67 standard

”

_________________________________________________________________________________________________

Page 75 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.4 ”Digital Video Recorder Type-1”, 6th item

The former text;

”

| Record Access | Maximum in 5 seconds by camera no, date/time, motion and alarm criteria |
| --- | --- |

”

Shall read as new text;

”

| Record Access | by camera, date/time, motion alarm |
| --- | --- |

”

_________________________________________________________________________________________________

Page 75 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.4 ”Digital Video Recorder Type-1”, 7th item

The former text;

”

| Outputs | 1(one) VGA and 2 (two) monitor outputs. Monitors shall be controlled individually. Appropriate interface units shall be provided for the cases requiring more than two monitor connection. |
| --- | --- |

”

Shall read as new text;

”

| Outputs | At least 2 (two) monitor outputs. Monitors shall be controlled individually. Appropriate interface units shall be provided for the cases requiring more than two monitor connection. |
| --- | --- |

”

_________________________________________________________________________________________________

Page 75 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.4 ”Digital Video Recorder Type-1”, 10th item ”Other Property”, specification 3

The former text;

”

Network Bandwidth Throttling

”

Shall read as new text;

”

Network connection

”

_________________________________________________________________________________________________

Page 75 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.4 ”Digital Video Recorder Type-1”, 10th item ”Other Property”, specification 4

The former text;

”

Multiple Displays for Live Viewing or Playback While Recording (Triplex)

”

is removed.

_________________________________________________________________________________________________

Page 75 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.4 ”Digital Video Recorder Type-1”, 10th item ”Other Property”, specification 6

The former text;

”

Video Loss Detection

”

is removed.

_________________________________________________________________________________________________

Page 75 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.4 ”Digital Video Recorder Type-1”, 10th item ”Other Property”, specification 8

The former text;

”

Ability to Support Five Simultaneous Clients

”

Shall read as new text;

”

Ability to Support Simultaneous Clients

”

_________________________________________________________________________________________________

Page 76 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.4 ”Digital Video Recorder Type-1”, 10th item ”Other Property”, specification 11

The former text;

”

Built –in Protection Against Hackers, Viruses and D.O.S. Attacks

”

is removed.

_________________________________________________________________________________________________

Page 76 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.4 ”Digital Video Recorder Type-1”, 10th item ”Other Property”, specification 13

The former text;

”

Display of Cameras From Different Sites on One Screen

”

is removed.

_________________________________________________________________________________________________

Page 76 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.4 ”Digital Video Recorder Type-1”, 10th item ”Other Property”, specification 17

The former text;

”

Should Include a 21” VGA PC Monitor

”

Shall read as new text;

”

Should Include a 21” Monitor

”

_________________________________________________________________________________________________

Page 76 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.5 ”Digital Video Recorder Type-2”, 6th item

The former text;

”

| Record Access | Maximum in 5 seconds by camera no, date/time, motion and alarm criteria |
| --- | --- |

”

Shall read as new text;

”

| Record Access | by camera, date/time, motion alarm |
| --- | --- |

”

_________________________________________________________________________________________________

Page 76 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.5 ”Digital Video Recorder Type-2”, 7th item

The former text;

”

| Outputs | 1(one) VGA and 2 (two) monitor outputs. Monitors shall be controlled individually. Appropriate interface units shall be provided for the cases requiring more than two monitor connection. |
| --- | --- |

”

Shall read as new text;

”

| Outputs | At least 2 (two) monitor outputs. Monitors shall be controlled individually. Appropriate interface units shall be provided for the cases requiring more than two monitor connection. |
| --- | --- |

”

_________________________________________________________________________________________________

Page 76 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.5 ”Digital Video Recorder Type-2”, 10th item ”Other Property”, specification 3

The former text;

”

Network Bandwidth Throttling

”

Shall read as new text;

”

Network connection

”

_________________________________________________________________________________________________

Page 76 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.5 ”Digital Video Recorder Type-2”, 10th item ”Other Property”, specification 4

The former text;

”

Multiple Displays for Live Viewing or Playback While Recording (Triplex)

”

is removed.

_________________________________________________________________________________________________

Page 77 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.5 ”Digital Video Recorder Type-2”, 10th item ”Other Property”, specification 6

The former text;

”

Video Loss Detection

”

is removed.

_________________________________________________________________________________________________

Page 77 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.5 ”Digital Video Recorder Type-2”, 10th item ”Other Property”, specification 8

The former text;

”

Ability to Support Five Simultaneous Clients

”

Shall read as new text;

”

Ability to Support Simultaneous Clients

”

_________________________________________________________________________________________________

Page 77 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.5 ”Digital Video Recorder Type-2”, 10th item ”Other Property”, specification 11

The former text;

”

Built –in Protection Against Hackers, Viruses and D.O.S. Attacks

”

is removed.

_________________________________________________________________________________________________

Page 77 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.5 ”Digital Video Recorder Type-2”, 10th item ”Other Property”, specification 13

The former text;

”

Display of Cameras From Different Sites on One Screen

”

is removed.

_________________________________________________________________________________________________

Page 77 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.5 ”Digital Video Recorder Type-2”, 10th item ”Other Property”, specification 17

The former text;

”

Should Include a 21” VGA PC Monitor

”

Shall read as new text;

”

Should Include a 21” Monitor

”

_________________________________________________________________________________________________

Page 77 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.6 ”Video Distribution and Amplifier Unit”

The former text;

”

| PARAMETER | MINIMUM REQUIRED CHARACTERISTICS |
| --- | --- |
| Function | Time Date Generator |
|  | Should Accept Master Time- Date Strings From Matrix Switcher System |
|  | Amplifies Distributed Video Signals |
|  | 16 Ground Isolated Video Inputs Per Unit |
|  | 4 Video Outputs Per Input |
|  | Line Compensation |
|  | Support RS-232, RS-422- RS-485 communication |
|  | Accept text messages via RS-232/RS-422 from third party systems. |
|  | 220 VAC 50 Hz |

”

Shall read as new text;

”

| PARAMETER | MINIMUM REQUIRED CHARACTERISTICS |
| --- | --- |
| Function | Amplifies Distributed Video Signals |
|  | 16 x 75 ohm BNC connector |
|  | Support RS-232 or RS-422 or RS-485 communication |
|  | 220 VAC 50 Hz |

”

_________________________________________________________________________________________________

Page 78 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.7 ”Matrix Switcher Type-1”, 1st item

The former text;

”

| Supports | RS 422 and Coaxitron |
| --- | --- |

”

Shall read as new text;

”

| Supports | RS-422 or RS-485 or RS-232 |
| --- | --- |

”

_________________________________________________________________________________________________

Page 78 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.7 ”Matrix Switcher Type-1”, 2nd item

The former text;

”

| Type | Microprocessor Based, Cross-Point Expandable Video Switcher |
| --- | --- |

”

is removed.

”

_________________________________________________________________________________________________

Page 78 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.7 ”Matrix Switcher Type-1”, 3rd item

The former text;

”

| Memory Protection | Lithium Batteries should provide 2 weeks data protection against energy cut |
| --- | --- |

”

is removed.

_________________________________________________________________________________________________

Page 78 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.7 ”Matrix Switcher Type-1”, 5th item

The former text;

”

| Alarm Inputs | 8 individual programmable NO or NC on rear panel |
| --- | --- |

”

is removed.

_________________________________________________________________________________________________

Page 78 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.7 ”Matrix Switcher Type-1”, 11th item

The former text;

”

| Video Inputs | 1-40 terminating or looping (Individually selectable per camera) |
| --- | --- |

”

is removed.

_________________________________________________________________________________________________

Page 78 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.8 ”Matrix Switcher Type-2”, 1st item

The former text;

”

| Supports | RS 422 and Coaxitron |
| --- | --- |

”

Shall read as new text;

”

| Supports | RS-422 or RS-485 or RS-232 |
| --- | --- |

”

_________________________________________________________________________________________________

Page 78 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.8 ”Matrix Switcher Type-2”, 2nd item

The former text;

”

| Type | Microprocessor Based, Cross-Point Expandable Video Switcher |
| --- | --- |

”

is removed.

_________________________________________________________________________________________________

Page 78 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.8 ”Matrix Switcher Type-2”, 3rd item

The former text;

”

| Memory Protection | Lithium Batteries should provide 2 weeks data protection against energy cut |
| --- | --- |

”

is removed.

_________________________________________________________________________________________________

Page 78 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.8 ”Matrix Switcher Type-2”, 5th item

The former text;

”

| Alarm Inputs | 8 individual programmable NO or NC on rear panel |
| --- | --- |

”

is removed.

_________________________________________________________________________________________________

Page 79 of 156, Technical Specifications, LOT-1 ”CCTV and equipment, license-plate scanning system”, Article-1.1 ”CCTV System”, Sub article-1.1.8 ”Matrix Switcher Type-2”, 11th item

The former text;

”

| Video Inputs | 1-40 terminating or looping (Individually selectable per camera) |
| --- | --- |

”

is removed.

_________________________________________________________________________________________________

Page 89 of 156, Technical Specifications, LOT-2 ”Vehicle tracking system, mobile vehicles, design and furnishing of mobile vehicles”, Article-2.1 ”Normal Tracking”, Sub article-2.1.1 ”VTS System Software”, 9th item

The former text;

”

During the mobile unit activation, at least the following data could be loaded:

- Entry Date

- Activation (entry) Custom gate

- Carrier-Trailer licence no

- Driver-1 & Driver-2 names and surnames

- Driver phone number

- Country of shipment

- Country of destination

- TIR Report Card No - Cargo

- Route – Route time

- Company Name

- Contractor

- Transporting Company

- Transporting Company’s code

”

Shall read as new text;

”

During the mobile unit activation, at least the following data could be loaded from existing ”Tracking Denounced Smuggling Events and Vehicles at Inland Border Posts” system:

- Entry Date

- Activation (entry) Custom gate

- Carrier-Trailer licence no

- Driver-1 & Driver-2 names and surnames

- Driver phone number

- Country of shipment

- Country of destination

- TIR Report Card No - Cargo

- Route – Route time

- Company Name

- Contractor

- Transporting Company

- Transporting Company’s code

This integration will be handled studying together with the IT staff of the Beneficiary.

”

_________________________________________________________________________________________________

Page 91 of 156, Technical Specifications, LOT-2 ”Vehicle tracking system, mobile vehicles, design and furnishing of mobile vehicles”, Article-2.2 ”Covert Tracking”, Sub article-2.2.1 ”VTS Vehicle Type-1”, 1st item

The former text;

”

Should have 4 cylinder, 2500 cc, Turbo Diesel Hdi type engine with 120/3500 bhp/rpm Max Power (DIN) and 250/1600 Nm/dd Max Torque (DIN).

”

Shall read as new text;

”

Should have 4 cylinder, at least 2400 cc, Turbo Diesel type engine with 120/3500 bhp/rpm Max Power (DIN) and 250/1600 Nm/dd Max Torque (DIN).

”

_________________________________________________________________________________________________

Page 92 of 156, Technical Specifications, LOT-2 ”Vehicle tracking system, mobile vehicles, design and furnishing of mobile vehicles”, Article-2.2 ”Covert Tracking”, Sub article-2.2.1 ”VTS Vehicle Type-1”, 3rd item

The former text;

”

Should have Hydraulic steering gear with maximum 6.00 m rotation radius.

”

Shall read as new text;

”

Should have Hydraulic steering gear with maximum 7.10 m rotation radius.

”

_________________________________________________________________________________________________

Page 95 of 156, Technical Specifications, LOT-2 ”Vehicle tracking system, mobile vehicles, design and furnishing of mobile vehicles”, Article-2.2 ”Covert Tracking”, Sub article-2.2.1 ”VTS Vehicle Type-1”, 81st item

The former text;

”

The transmitter unit of the covert tracking system should have sleep power range <2mA (receiver and confidence) and 10µA (receiver and confidence off) with 12V.

”

Shall read as new text;

”

The transmitter unit of the covert tracking system should have sleep power range <2mA (receiver and confidence) and 11µA (receiver and confidence off) with 12V.

”

_________________________________________________________________________________________________

Page 96 of 156, Technical Specifications, LOT-2 ”Vehicle tracking system, mobile vehicles, design and furnishing of mobile vehicles”, Article-2.2 ”Covert Tracking”, Sub article-2.2.2 ”VTS Vehicle Type-2”, 1st item

The former text;

”

Should have 4 cylinder, 2500 cc, Turbo Diesel Hdi type engine with 120/3500 bhp/rpm Max Power (DIN) and 250/1600 Nm/dd Max Torque (DIN).

”

Shall read as new text;

”

Should have 4 cylinder, at least 2400 cc, Turbo Diesel type engine with 120/3500 bhp/rpm Max Power (DIN) and 250/1600 Nm/dd Max Torque (DIN).

”

_________________________________________________________________________________________________

Page 96 of 156, Technical Specifications, LOT-2 ”Vehicle tracking system, mobile vehicles, design and furnishing of mobile vehicles”, Article-2.2 ”Covert Tracking”, Sub article-2.2.2 ”VTS Vehicle Type-2”, 3rd item

The former text;

”

Should have Hydraulic steering gear with maximum 6.00 m rotation radius.

”

Shall read as new text;

”

Should have Hydraulic steering gear with maximum 7.10 m rotation radius.

”

_________________________________________________________________________________________________

The evaluation grids are amended accordingly.

All other terms and conditions of the tender dossier remain unchanged. The above alterations and/or corrections to the Technical Specifications are integral part of the Tender Dossier.