CHANGES NO.1 to the TENDER DOSSIER

Contract Title:	Supply of Equipment for Refurbishment of Removal Centres

Publication Reference: 	EuropeAid/139093/IH/SUP/TR

Location:	Turkey

The following alterations/changes are made to the Tender Dossier:

The address of the contacting authority has been changed and shall be read in all relevant documents as follows:

Central Finance and Contracts Unit (CFCU)

T.C. Hazine ve Maliye Bakanlığı Kampüsü E Blok İnönü Bulvarı No:36 06510 Emek / Ankara, TURKEY

fax: +90 312 286 7072, e-mail: pao@cfcu.gov.tr

Instructıons to tenderers

## Article 1: Supplies to be provided

The following item was excluded.

| Item No | Description | Quantity |
| --- | --- | --- |
| 3.6 | Telephone (Type TEL1) | 90 |

draft contract

## Article 1: Subject

The following item was excluded.

| Item No | Description | Quantity |
| --- | --- | --- |
| 3.6 | Telephone (Type TEL1) | 90 |

TECHNICAL SPECIFICATIONS

LOT 1: Furniture

## 1.1 Armchair

Former Text:

| […] | […] |
| --- | --- |
| 1.1.4 | filling material is to be min 28 density polystyrene foam and synthetic fibre |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.1.4 | filling material is to be min 28 density polystyrene foam and synthetic fibre or min 28 density cutting sponge/polyurethane foam |
| […] | […] |

## 1.6. Bench for two persons (Type B1)

The indicative illustration is added to the item 1.6.

1.7. Outdoor bench for three person (Type B2)

Former Text:

| […] | […] |
| --- | --- |
| 1.7.7 | edges chamfered and finished with rounded ABS edge band of at least 2mm |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.7.7 | edges chamfered |
| […] | […] |

1.9. Visitor’s Chair (Type CH1)

Following specification is added:

| […] | […] |
| --- | --- |
| 1.9.6 | Metal frame, and legs made of steel profiles or aluminium profiles |
| […] | […] |

1.12. Chair for various Rooms (Type CH5)

Former Text:

| […] | […] |
| --- | --- |
| 1.12.1 | Stackable chair with Black steel tube frame and legs, painted with RAL 7035 electrostatic powder paint and protected against corrosion and UV |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.12.1 | Stackable chair with steel tube frame and legs, painted with RAL 7035 electrostatic powder paint and protected against corrosion and UV”. |
| […] | […] |

Following specifications are added:

| […] | […] |
| --- | --- |
| 1.12.4 | textile fabric upholstered seat and backrest |
| 1.12.5 | 30-50 mm. foam thickness with 30-32 density at the back rest and 45-48 at the seat |
| […] | […] |

1.15. Coffee Table (Type CT2)

Former Text:

| […] | […] |
| --- | --- |
| 1.15.4 | Veneered in rift-cut light oak with at least 2mm PVC edgings in the same colour |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.15.4 | at least 2mm PVC edgings in the same colour |
| […] | […] |

1.16. Compact Archive System

Following specifications are added:

| […] | […] |
| --- | --- |
| 1.16.4 | minimum thickness of metal, t = 0.5 mm |
| 1.16.5 | at least 4 shelves |
| […] | […] |

1.22. Cupboard Type (C5)

Former Text:

| […] | […] |
| --- | --- |
| 1.22.2 | metal cold rolled 21 gauge sheet steel framed bookcase with 6 closed adjustable shelves |
| 1.22.3 | two doors of the cupboard to be constructed of at least 4mm clear toughened safety glass |
| 1.22.4 | other two doors and top panel of the cupboard to be constructed of veneer over chipboard of at least18 mm thick |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.22.2 | metal cold rolled 21 gauge sheet steel framed bookcase with 6 adjustable shelves |
| 1.22.3 | top two doors of the cupboard to be constructed of at least 4mm clear toughened safety glass |
| 1.22.4 | bottom two doors and top, bottom and vertical side panels of the cupboard to be constructed of chipboard of at least18 mm thick, back panel to be constructed of chipboard of at least 10 mm thick |
| […] | […] |

The indicative illustration is added to the item 1.22.

1.31. Shelf unit

Former Text:

| […] | […] |
| --- | --- |
| 1.31.1 | Dimensions: 100wx60dx190h cm |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.31.1 | Dimensions: 100wx60dx190h cm, minimum thickness t = 1 mm |
| […] | […] |

1.34. Table (Type T1)

Former Text:

| […] | […] |
| --- | --- |
| 1.34.3 | 25 mm thick tabletop to be made of laminated coated, finished in rift-cut light oak veneer |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.34.3 | 25 mm thick tabletop to be made of laminated chipboard, finished in rift-cut light oak |
| […] | […] |

1.35. Table (Type T2)

Former Text:

| […] | […] |
| --- | --- |
| 1.35.3 | 25 mm thick tabletop to be made of laminated coated, finished in rift-cut light oak veneer |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.35.3 | 25 mm thick tabletop to be made of laminated chipboard, finished in rift-cut light oak |
| […] | […] |

1.36. Table (Type T3)

Former Text:

| […] | […] |
| --- | --- |
| 1.36.3 | 25 mm thick tabletop to be made of laminated coated, finished in rift-cut light oak veneer |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.36.3 | 25 mm thick tabletop to be made of laminated chipboard, finished in rift-cut light oak |
| […] | […] |

1.38. Table (Type T5)

Former Text:

| […] | […] |
| --- | --- |
| 1.38.3 | 25 mm thick tabletop to be made of laminated coated, finished in rift-cut light oak veneer |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.38.3 | 25 mm thick tabletop to be made of laminated chipboard, finished in rift-cut light oak |
| […] | […] |

1.39. Conference room table (Type T6)

Former Text:

| […] | […] |
| --- | --- |
| 1.39.3 | 25 mm thick tabletop to be made of laminated coated, finished in rift-cut light oak veneer |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.39.3 | 25 mm thick tabletop to be made of laminated chipboard, finished in rift-cut light oak |
| […] | […] |

1.40. Conference room table (Type T7)

Former Text:

| […] | […] |
| --- | --- |
| 1.40.3 | 25 mm thick tabletop to be made of laminated coated, finished in rift-cut light oak veneer |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.40.3 | 25 mm thick tabletop to be made of laminated chipboard, finished in rift-cut light oak |
| […] | […] |

Following specification is excluded:

| […] | […] |
| --- | --- |
| 1.40.4 | front modesty panels made of laminated 18 mm thick chipboard, finished in rift-cut light oak |
| […] | […] |

1.41. Round conference table (Type T9)

Former Text:

| […] | […] |
| --- | --- |
| 1.41.3 | 25 mm thick tabletop to be made of laminated coated, finished in rift-cut light oak veneer |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.41.3 | 25 mm thick tabletop to be made of laminated chipboard, finished in rift-cut light oak |
| […] | […] |

1.43. White Board

The indicative illustration is added to the item 1.43.

1.44. Workstation

Former Text:

| […] | […] |
| --- | --- |
| 1.44.2 | 25 mm thick tabletop to be made of laminated coated chipboard, finished in rift-cut light oak veneer |
| 1.44.3 | 30 cm high separator panel made of laminated at least 18 mm thick chipboard, light oak veneer |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 1.44.2 | 25 mm thick tabletop to be made of laminated chipboard, finished in rift-cut light oak |
| 1.44.3 | 30 cm high separator panel made of laminated at least 18 mm thick chipboard, light oak |
| […] | […] |

1.59. Trashcan

The indicative illustration is added to the item 1.59.

Following specification is excluded:

| […] | […] |
| --- | --- |
| 1.59.3 | 1/2 roller |
| […] | […] |

LOT 2: Home Textile & Upholstery

2.2. Single Mattress

Former Text:

| […] | […] |
| --- | --- |
| 2.2.6 | Constructed of flame retardant material |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 2.2.6 | Constructed of flame retardant cover/outer material |
| […] | […] |

2.4. Pillow

Former Text:

| […] | […] |
| --- | --- |
| 2.4.1 | Size: (50 ×75) cm |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 2.4.1 | Size: (50 ×70) cm |
| […] | […] |

2.7. Coverlet

Former Text:

| […] | […] |
| --- | --- |
| 2.7.2 | %100 cotton fabric |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 2.7.2 | 80% cotton fabric |
| […] | […] |

Lot 3: Electrical Appliances

3.4. Vacuum Cleaner

Former Text:

| […] | […] |
| --- | --- |
| 3.4.3 | 1800 watt (min) power |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 3.4.3 | 1000 watt (min) power |
| […] | […] |

3.6. Telephone (Type TEL1)

Telephone (Type TEL1) is excluded from the scope of tender.

3.8. TV

Following specifications are excluded:

| […] | […] |
| --- | --- |
| 3.8.6 | VGA input |
| 3.8.7 | AV input |
| […] | […] |

3.9. Desktop Computer (Type DC)

Former Text:

| […] | […] |
| --- | --- |
| 3.9.3 | 500 GB capacity, NCQ and at least 7200 rpm SATA III hard disk |
| […] | […] |
| 3.9.20 | Microsoft Windows 10 or equivalent |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 3.9.3 | 500 GB capacity, at least 7200 rpm SATA III hard disk |
| […] | […] |
| 3.9.20 | Microsoft Windows 10 PRO or equivalent |
| […] | […] |

3.10. Notebook Computer (Type NC)

Former Text:

| […] | […] |
| --- | --- |
| 3.10.8 | The hard disk will be 7200 rpm at least 320 GB NCQ SATA III HDD |
| […] | […] |
| 3.10.10 | The optical drive DVD+/- RW supermulti double layer |
| […] | […] |
| 3.10.22 | Microsoft Windows-10 or equivalent |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 3.10.8 | The hard disk will be 7200 rpm at least 320 GB SATA III HDD |
| […] | […] |
| 3.10.10 | The optical drive DVD+/- RW supermulti double layer or External USB DVD+/- RW |
| […] | […] |
| 3.10.22 | Microsoft Windows 10 PRO or equivalent |
| […] | […] |

Lot 5: MEDICAL EQUIPMENT

5.1. Autoclave

Former Text:

| […] | […] |
| --- | --- |
| 5.1.2 | Working temperature: 1100C - 1300C |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 5.1.2 | sterilization temperatures: 1210C and 1340C |
| […] | […] |

5.2. Burner and its tube

Former Text:

| […] | […] |
| --- | --- |
| 5.2.1 | Suitable for all gas types: propane and LNG |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 5.2.1 | Suitable for gas types: propane or LNG |
| […] | […] |

5.5. Defibrillator

Former Text:

| […] | […] |
| --- | --- |
| 5.5.3 | Energy selection from 1 to 360 Joule directly from the front panel |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 5.5.3 | Energy selection from 1 to 360 Joule directly from the front panel with an accuracy level of +/- 15%” |
| […] | […] |

5.6. Diagnostic Kit

Following specification is excluded:

| […] | […] |
| --- | --- |
| 5.6.9 | ENT Ear, Nose and Throat Examination |
| […] | […] |

5.33. Visual Scale

Former Text:

| […] | […] |
| --- | --- |
| 5.5.3 | With 2x32 watt lamps (min) |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 5.5.3 | With 2x18 watt lamps (min) |
| […] | […] |

Lot 6: Laundry Equipment

6.1. Laundry Washer (LW1)

Following specification is excluded:

| […] | […] |
| --- | --- |
| 6.1.2 | Minimum dimensions (wxdxh): (800x1000x1200) mm |
| […] | […] |

6.2. Laundry Washer (LW2)

Following specification is excluded:

| […] | […] |
| --- | --- |
| 6.2.2 | Minimum dimensions (wxdxh): (650x750x950) mm |
| […] | […] |

6.3. Laundry Drying Tumbler

Following specification is excluded:

| […] | […] |
| --- | --- |
| 6.3.4 | Minimum dimensions (wxdxh): (750x1000x1500) mm |
| […] | […] |

Lot 7: KITCHEN EQUIPMENT

7.1. Glass Shelf (K1)

The indicative illustration is added to the item 7.1.

7.4. Service Shelf (K4)

The indicative illustration is added to the item 7.4.

7.10. Single Sink Unit (K14)

The indicative illustration is added to the item 7.10.

7.11. Dishwasher with Rinse Pump (K15)

Former Text:

| […] | […] |
| --- | --- |
| 7.11.1 | Dishwasher with rinse pump, 230V-50Hz-size: (590x700x820) mm |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 7.11.1 | Dishwasher with rinse pump, 230V-50Hz |
| […] | […] |

7.13. Bread Slicing Machine (K18)

Former Text:

| […] | […] |
| --- | --- |
| 7.13.7 | Blade pich 10-80 mm |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 7.13.7 | Blade pitch 10-80 mm |
| […] | […] |

7.25. Soiled Dish Soaking Trolley (K38)

Former Text:

| […] | […] |
| --- | --- |
| 7.25.1 | Size (WxDxH): min (800x550x850) mm |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 7.25.1 | Size (WxDxH): min (600x550x850) mm |
| […] | […] |

7.26. Service Shelf (K44)

The indicative illustration is added to the item 7.26.

7.30. Floor Cooker-Gas (K52)

Former Text:

| […] | […] |
| --- | --- |
| 7.30.1 | Size: (700x700x500) mm (including Oven) |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 7.30.1 | Size: (800x700x500) mm (including Oven)” |
| […] | […] |

7.33. Plates (K60)

The indicative illustrations (20 cm Deep plate, 25 cm plate and 18 cm side plate respectively) are added to the item 7.33.

7.34. Kitchen Cooking Utensil Set (K61)

Former Text:

| […] | […] |
| --- | --- |
| 7.34.1 | 5 Piece: Spatula, Spoon, Server and Turner and Ladle |
| […] | […] |

Shall read as:

| […] | […] |
| --- | --- |
| 7.34.1 | 5 Piece: Spatula, Spoon, Server, Turner, Ladle |
| […] | […] |

The indicative illustration is added to the item 7.34.

Appendix A to ANNEX II + III:  DELIVERY LIST

## 3.6. Telephone (Type TEL1)

Telephone (Type TEL1) is excluded from the scope of tender.

Appendix B to ANNEX II + III:  STATEMENT FOR THE OFFERED PRODUCTS

Lot 3: Electrical Appliances

The following item is excluded:

| Item No | Item Name | Brand Name | Model Name (incl. offered package/configuration) | Origin | Explanation for the provided documentation |
| --- | --- | --- | --- | --- | --- |
| 3.6 | Telephone (Type TEL1) |  |  |  |  |

## ANNEX IV: BUDGET BREAKDOWN (MODEL FINANCIAL OFFER)

The following item was excluded:

Lot 3: Electrical Appliances

| A |  | C | D | E |
| --- | --- | --- | --- | --- |
| Item Number | Quantity | specifications offered (incl brand/model) | Unit costs with delivery DDP turkey EUR | total EUR |
| 3.6 Telephone (Type TEL1) | 90 |  |  |  |

All other terms and conditions of the tender dossier remain unchanged. The above alterations and /or corrections to the tender dossier are integral part of the tender dossier.

# Footnotes

DDP (Delivered Duty Paid  — Incoterms 2010 International Chamber of Commerce http://www.iccwbo.org/products-and-services/trade-facilitation/incoterms-2010/the-incoterms-rules/ .