CHANGES No: 1

to the

TENDER DOSSIER

# Publication Ref: EuropeAid/139620/IH/SUP/TR

Subject: Supply of Laboratory Equipment and Light Traps for Control and Prevention of Lumpy Skin Disease (LSD)

Location - Turkey

The tender dossier is corrected or modified as follow:

| # | Former Text | Shall read as |
| --- | --- | --- |
| ITT: Article 1, Draft Contract: Article 1, Annex IV Budget Breakdown, Appendix A to Annex II + III, Appendix C to Annex II + III | 1.4. Deep Freezer (-30) … … 1.7. Real Time PCR … … 1.10. CO2 Incubator … … 1.22. Automated Pipettes and Stand Set … … | 1.4. DELETED … … 1.7. DELETED … … 1.10. DELETED … … 1.22. DELETED … … |
| Appendix B to ANNEX II + III | Training 1: For items 1.1., 1.2., 1.3., 1.4., 1.5., 1.6., 1.7., 1.8., 1.9., 1.10., 1.11., 1.12., 1.13., 1.14., 1.15., 1.16., 1.23. and 1.24.: Indicatively 10 staff of the Beneficiary personnel Duration: Minimum 3 days Location: Pendik Veterinary Control Institute (İstanbul) | Training 1: For items 1.1., 1.2., 1.3., 1.5., 1.6., 1.8., 1.9., 1.11., 1.12., 1.13., 1.14., 1.15., 1.16., 1.23. and 1.24.: Indicatively 10 staff of the Beneficiary personnel Duration: Minimum 3 days Location: Pendik Veterinary Control Institute (İstanbul) |
|  | Training 2: For items 1.4. 1.17., 1.18., 1.19., 1.20., 1.21., 1.22., 1.23. and 1.24.: Indicatively 10 staff of the Beneficiary personnel Duration: Minimum 3 days Location: Veterinary Control Central Research Institute (Ankara) | Training 2: For items 1.17., 1.18., 1.19., 1.20., 1.21., 1.23. and 1.24.: Indicatively 10 staff of the Beneficiary personnel Duration: Minimum 3 days Location: Veterinary Control Central Research Institute (Ankara) |
| TS Item 1.3.4 | Shall be operated between -4° C and -86° C. | Shall be operated between -40° C and -86° C. |
| TS Item 1.4 | Deep Freezer (-30 °C) | This item was removed from the scope of the project. |
| TS Item 1.5.8. | Shall have a digital table and the parameters can be adjusted by touch-operated. | Shall have a digital table and the parameters can be adjusted by touch-operated (Touch-operated feature could be satisfied by means of touch screen or buttons or keypad). |
| TS Item 1.6.1 | The 1.2 meter (±0.01 meter) (interior width) biological safety cabinet. | The 1.2 meter (±0.1 meter) (interior width) biological safety cabinet. |
| TS Item 1.7 | Real-Time PCR | This item was removed from the scope of the project. |
| TS Item 1.8.4 | Sytem shall have counter balanced lid with 100% clearance allow seachEntry into the storage area for retrieval of samples. | System shall have counter balanced lid with 100% clearance allow into the storage area for retrieval of samples. |
| TS Item 1.8.12 | One 50 liter and one 180 liter 22 psi (1.5 bar) low pressure stainless steel supply tank and two flare stainlesss steel flexible transfer hoses and a cylinder roller base for 50 liter supply tank shall be delivered with LN2 sample storage system. | One at least 50 liter and one at least 180 liter 22 psi (1.5 bar) low pressure stainless steel supply tank and two flare stainless steel flexible transfer hoses and a cylinder roller base for at least 50 liter supply tank shall be delivered with LN2 sample storage system. |
| TS Item 1.8.14 | The stainless steel racks and plastic cryoboxes shall be provided. The device shall be proper for storing 5 ml and 2 ml vials both. Half of the stainless steel racks and cryoboxes shall be for 5 ml vials and the other half for 2 ml vials. | The stainless steel racks and plastic cryoboxes shall be provided. The device shall be proper for storing 5 ml and 2 ml vials both. The number of the stainless steel racks and cryoboxes for 5 ml vials and for 2 ml vials will be decided during the implementation. |
| TS Item 1.10 | CO2 Incubator | This item was removed from the scope of the project. |
| TS Item 1.22 | Automated pipettes and Stand Set | This item was removed from the scope of the project. |

All other terms and conditions of the tender dossier remain unchanged. The above alterations and /or corrections to the tender dossier are integral part of the tender dossier.